## Slide 1
When the FM200 gas is released the gas will not be contained due to the HVAC vents do not close upon discharge, also it was unknown if the room was pressure tested to ensure gas containment | Ensure the HVAC shuts down and vents close to ensure gas containment, also have the room pressure tested to ensure gas containment for the manufacturers specified time |  | When the FM200 gas is released the gas will not be contained due to the HVAC vents do not close upon discharge, also it was unknown if the room was pressure tested to ensure gas containment | Ensure the HVAC shuts down and vents close to ensure gas containment, also have the room pressure tested to ensure gas containment for the manufacturers specified time